## atrr
Наименование | Атрибут
Трехфазный автоматический выключатель с моторным приводом | motorized three-phase circuit breaker'
Однофазный автоматический выключатель с моторным приводом | motorized single-phase circuit breaker'
Выключатель-разъединитель (рубильник) с моторным приводом | motorized switch'
Трансформатор напряжения | transformer'
Автоматический выключатель с моторным приводом | motorizwd circuit breaker
Выдвижной (выкатной) автоматический выключатель | withdrawable circuit breaker'
Четырехфазный автоматический выключатель | four-phase circuit breaker'
Трехфазный автоматический выключатель | three-phase circuit breaker'
Трехфазный выключатель-разъединитель | three-phase switch'
Двухфазный автоматический выключатель | two-phase circuit breaker'
Однофазный автоматический выключатель | single-phase circuit breaker'
Автоматический выключатель | circuit breaker'
Устройство защиты от импульсных перенапряжений | surge protection device'
Откидной выключатель-разъединитель с плавкими предохранителями | fuse switch disconnector'
Предохранитель, плавкая вставка предохранителя | fuse'
Выключатель-разъединитель (рубильник) | switch'
Конденсатор | capasitor '
Фоторезистор? Может фотореле? | photoresistor'
Счетчик прямого включения. Нет в ассортименте CHINT. | direct connection counter'
Реле контроля напряжения (фаз) | voltage monitoring relay'
Индикатор | lamp'
RCD 220V'
Дифференциальный автоматический выключатель трехфазный. Дифф автомат. | differential circuit breaker 380V'
Дифференциальный автоматический выключатель однофазный. Дифф автомат. | differential circuit breaker 220V'
Шина заземления | ground'
Измерительный трансформатор тока. Нет в ассортименте CHINT. | instrument current transformer'
Inductor'
Устройство компенсации реактивной мощности. УКРМ. | reactive power compensation device'

## 1 63
name | 4,5 кА | 6 кА | 10 кА | 15 кА | 25 кА | 50 кА
motorized three-phase circuit breaker' |  |  |  |  | NXM + MD | NXM + MD
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker |  |  |  |  | NXM + MD | NXM + MD
withdrawable circuit breaker' |  |  |  |  | NXM | NXM
four-phase circuit breaker' | NXB-63S | NB1-63 | NB1-63H | NBP-63R | NXM | NXM
three-phase circuit breaker' | NXB-63S | NB1-63 | NB1-63H | NBP-63R | NXM | NXM
three-phase switch'
two-phase circuit breaker' | NXB-63S | NB1-63 | NB1-63H | NBP-63R | NXM | NXM
single-phase circuit breaker' | NXB-63S | NB1-63 | NB1-63H | NBP-63R | NXM | NXM
circuit breaker' | NXB-63S | NB1-63 | NB1-63H | NBP-63R | NXM | NXM
surge protection device'
fuse switch disconnector'
fuse'
switch' | NH4 | NH4 | NH4 | NH4 | NH4 | NH4
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V' | NXBLE-63Y | NB1L | NB1L
differential circuit breaker 220V' | NXBLE-63Y | NB1L | NB1L
ground'
instrument current transformer'
Inductor'
reactive power compensation device'

## 80 100
name | 10 кА | 15 кА | 25 кА
motorized three-phase circuit breaker' |  |  | NXM + MD
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker |  |  | NXM + MD
withdrawable circuit breaker'
four-phase circuit breaker' | DZ158 | NXM | NXM
three-phase circuit breaker' | DZ158 | NXM | NXM
three-phase switch'
two-phase circuit breaker' | DZ158 | NXM | NXM
single-phase circuit breaker' | DZ158 | NXM | NXM
circuit breaker' | DZ158 | NXM | NXM
surge protection device'
fuse switch disconnector'
fuse'
switch' | NH4 | NH4 | NH4
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V'
differential circuit breaker 220V'
ground'
instrument current transformer'
Inductor'
reactive power compensation device'

## 115 800
name | 25 кА | 35 кА | 50 кА | 70 кА | 100 кА | 150 кА
motorized three-phase circuit breaker' | NXM + MD | NM8N-хххC + MOD | NM8N-хххS + MOD | NM8N-хххQ + MOD | NM8N-хххH + MOD | NM8N-хххR + MOD
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker | NXM + MD | NM8N-хххC + MOD | NM8N-хххS + MOD | NM8N-хххQ + MOD | NM8N-хххH + MOD | NM8N-хххR + MOD
withdrawable circuit breaker' |  | NM8N-хххC + PIA21 | NM8N-хххS + PIA21 | NM8N-хххQ + PIA21 | NM8N-хххH + PIA21 | NM8N-хххR + PIA21
four-phase circuit breaker' | NXM | NM8N-хххC | NM8N-хххS | NM8N-хххQ | NM8N-хххH | NM8N-хххR
three-phase circuit breaker' | NXM | NM8N-хххC | NM8N-хххS | NM8N-хххQ | NM8N-хххH | NM8N-хххR
three-phase switch'
two-phase circuit breaker'
single-phase circuit breaker'
circuit breaker' | NXM | NM8N-хххC | NM8N-хххS | NM8N-хххQ | NM8N-хххH | NM8N-хххR
surge protection device'
fuse switch disconnector'
fuse'
switch' | NH40 | NH40 | NH40 | NH40 | NH40 | NH40
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V' |  | NM8N + NM8NL | NM8N + NM8NL | NM8N + NM8NL | NM8N + NM8NL
differential circuit breaker 220V'
ground'
instrument current transformer'
Inductor'
reactive power compensation device'

## 1000 1600
name | 42 кА | 50 кА
motorized three-phase circuit breaker' | NA1 выдвиж | NA8G выдвиж
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker | NA1 выдвиж | NA8G выдвиж
withdrawable circuit breaker' | NA1 выдвиж | NA8G выдвиж
four-phase circuit breaker' | NA1 выдвиж | NA8G выдвиж
three-phase circuit breaker' | NA1 стац | NA8G стац
three-phase switch'
two-phase circuit breaker'
single-phase circuit breaker'
circuit breaker' | NA1 стац | NA8G стац
surge protection device'
fuse switch disconnector'
fuse'
switch' | NH40 | NH40
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V'
differential circuit breaker 220V'
ground'
instrument current transformer'
Inductor'
reactive power compensation device'

## 2000 4000
name | 80 кА | 100 кА
motorized three-phase circuit breaker' | NA1 выдвиж | NA8G выдвиж
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker | NA1 выдвиж | NA8G выдвиж
withdrawable circuit breaker' | NA1 выдвиж | NA8G выдвиж
four-phase circuit breaker' | NA1 выдвиж | NA8G выдвиж
three-phase circuit breaker' | NA1 стац | NA8G стац
three-phase switch'
two-phase circuit breaker'
single-phase circuit breaker'
circuit breaker' | NA1 стац | NA8G стац
surge protection device'
fuse switch disconnector'
fuse'
switch' | NH40
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V'
differential circuit breaker 220V'
ground'
instrument current transformer'
Inductor'
reactive power compensation device'

## 5000 6300
name | 120 кА
motorized three-phase circuit breaker' | NA1 выдвиж
motorized single-phase circuit breaker'
motorized switch'
transformer'
motorizwd circuit breaker | NA1 выдвиж
withdrawable circuit breaker' | NA1 выдвиж
four-phase circuit breaker' | NA1 выдвиж
three-phase circuit breaker' | NA1 стац
three-phase switch'
two-phase circuit breaker'
single-phase circuit breaker'
circuit breaker' | NA1 стац
surge protection device'
fuse switch disconnector'
fuse'
switch'
capasitor '
photoresistor'
direct connection counter'
voltage monitoring relay'
lamp'
RCD 220V'
differential circuit breaker 380V'
differential circuit breaker 220V'
ground'
instrument current transformer'
Inductor'
reactive power compensation device'